GIEE Water Quality laboratory（RB08）Use Application

Application Date：    Y     M     D

| Name： Student ID/University ID: |  |  |  | phone： |
| --- | --- | --- | --- | --- |
| Department： |  | Advisor Signature： |  |  |
| Use Instruments please check the property list | Property No. |  | Name of property |  |
| Safety Education Training Certification □ A Certificate number : □ B Certificate number : |  |  |  |  |
| Use Bench no. |  |  |  |  |
| Usage Period： Y M D to Y M D |  |  |  |  |
| I have carefully read the terms of instructions for use in water quality laboratory and agree to abide by the terms of use for these instruments. Applicant Signature： |  |  |  |  |

water quality laboratory technician                 water quality laboratory manager

Hui-Hsien Chiang                                            Chia-Hung Hou

Signature：                                                      Signature：

Water Quality laboratory（RB08）Instructions for use in the laboratory

- Users must have card swipe access to enter the room. Please do not use others’ access cards or lend others your access card.

- Before entering the laboratory, first be familiar with the interior layout, and follow the instruction of superintendent

- Food and drinks, and smoking are prohibited in the lab area.

- Before operating any equipment or machinery facilities, read about user’s guide and conduct in standard procedure, and always remember to turn off the facilities not in use.

- Be careful when using the instruments. If uncertain about anything, stop working immediately and check with the instrument manager or engineer. In order to avoid any mishaps that can affect the function or service life of the instrument, don’t make any assumptions or guess.

- After using, clean the surrounding areas and return the area to the state it was in prior to use. Each person should adhere to the health and safety regulations to keep a clean, safe environment for all. Users may not store personal samples, lab equipment, food and drink packaging, etc. in order to maintain laboratory cleanliness.

- Work to wear the necessary safety and health protective equipment and select the most secure methods of work.

- Refrain from conducting hazardous experiments alone in lab.

| Property No. | Name of property | specification | Purchase date | Location |
| --- | --- | --- | --- | --- |
| 3100606001-479 | Analytical balance | A& D HR205AZ | 1021204 | D2 |
| 3100606001-546 | Analytical balance | Shimadzu | 1090901 | D2 |
| 3100802032-3 | Kjeltec Distillation Unit | KJELTEC 1002-001 | 861117 | D1 |
| 3100908032-001 | Digestion systems for Kjeldahl analysis | FOSS DT208 | 1110701 | Hood Lower chest |
| 3110102001-397 | Autoclave Sterilizer | TOMIN TM328 | 1060818 |  |
| 3100403035-850 | Furnace | JH-6 | 1090907 |  |
| 3101103410-014 | Microwave Digestion | Milestone P/N44034ETHO | 930517 | D2 |
| 3100908008-57 | Turbidimeter | HACH | 1021223 | C1 |
| 3100801002-1284 3100801002-1285 | pH meter | Mettler Toledo FP20 | 1090526 | C1 |
| 3100801002-1120 | PH/Conductivity/Do Meter | Thermo A329 | 1110907 |  |
| 3100801002-1120 | PH/Conductivity/Do Meter | Thermo A329 | 1030626 | Hou lab |
| 3100503008-376 | Conductivity meter | FP30-Standard0 | 1091023 | C1 |
| 3100403026-2193 3100403026-2194 | Magnetic Stirrer Hotplate | LMS HTS1003 | 1091202 | D1 |
| 3100403023-108 | Hot plate | NEW LAB HP-306D | 991224 | D1 |
| 3100403006 -19 | COD Reactor | Rocker CR25 | 1091031 | D1 |
| 3100403033-433 | Hot air circulation oven | MACHINE-ZHOP- JA150 | 991228 |  |
| 3100403030-966 | Incubator | YIHDER LE-400RD | 991228 |  |
| 3101103033-461 | Deionized water Purification system | RDI-10 | 1001107 | D1 |
| 31010102023-153 | Chemical fume hood |  | 1080926 | H |

GIEE Water Quality laboratory（RB08）floor plan

Autoclave

Cabinet   C1

microwave digestion

safety door

ChemicalStorage

Cabinet  C2

ChemicalStorage

Cabine C3

D2-1

D2-2

D2-3

H

O

O

d

H

T 2-1

T 2-3

Sink S1

Sink S3

T 1-1

T 1-3

T 3-1

T 3-3

T 2-2

T 2-4

T 1-2

T 1-4

T 3-2

T 3-4

Sink S2

Incubator

oven

D1-1

D1-2

D1-3

Furnace

Sink

DI water Purification system

Kjeltec Distillation

COD Reactor