Incubator User Manual

- Basic information

| Band/Model | Firstek Ri-150 |
| --- | --- |
| Specification | -10-60℃, Digital, 150L, W58/D43.5/H60 |
| No. of property | 3100403030-966 |

- Set the temperature

- Check the power cord is connected to the power supply(110V).

- Turn on the incubator.

- Set the operating temperature.：

- Press the Set button.

- Adjust the temperature

- Press the Set button to save the setting.

- If the setting temperature is lower than the PV, press cool.

- Notice

- Keep the incubator Clean.

- Label the sample and the user in the incubator.。

- Keep the machine 25℃ when there is no sample in the incubator.

- Scan the qr-code to fill the google form to submit the usage or through the link: https://forms.gle/XnxCyoHJhgRDZFUY9