Incubator User Manual
Basic information
Band/Model	Firstek Ri-150
Specification	-10-60℃, Digital, 150L, W58/D43.5/H60
No. of property	3100403030-966

Set the temperature
1. Check the power cord is connected to the power supply(110V).
2. Turn on the incubator.
3. Set the operating temperature.：
1. Press the Set button.
2. Adjust the temperature
3. Press the Set button to save the setting.
4. If the setting temperature is lower than the PV, press cool.

Notice
1. Keep the incubator Clean.
2. Label the sample and the user in the incubator.。
3. Keep the machine 25℃ when there is no sample in the incubator.
4. Scan the qr-code to fill the google form to submit the usage or through the link: https://forms.gle/XnxCyoHJhgRDZFUY9